Mr Darryl Rowlands

WPM Planning & Development

Suite 108, Creative Quarter

Morgans Arcade

Cardiff

CF101AF

Dear Sir,

Town and Country Planning Act, 1990 (as amended)

Planning Permission Reference: 2009/00946/5/CD

Proposal: Discharge of Conditions 41 - Development of vacant land at Barry Waterfront for residential (C3), retail (A1), cafes, bars and restaurants (A3), hotel (C1), offices (B1) and community and leisure uses (D1 and D2).  Development of vehicular and pedestrian/cycle access including a new link road, re-grading of site to form new site levels and associated infrastructure works, parking, servicing, landscaping, public realm and public open space provision at Land at Barry Waterfront adjacent to Dock No. 1, Barry

Location: Land at Barry Waterfront adjacent to Dock No. 1, Barry

APPROVAL

I refer to the above referenced planning permission approved and the details submitted in respect of the following conditions of that permission.

I have received a response from the Council’s Environmental Health Officer who has advised that whilst the report demonstrates the work undertaken in terms of stabilisation of hydrocarbon impacted soils has been completed, the remediation strategy for the site requires provision of a minimum of 600mm of clean capping across the site.

Accordingly at this stage the EHO can only recommend partial discharge, as the condition can only be fully discharged upon completion of the full remediation strategy which includes the final 600mm capping.

I can therefore confirm that the Cuddy Validation Report for South Quay Parkside, July 2016, Validation Report for South Quay Section 1- December 2016, and the associated certificates of analysis submitted on the 10th February 2017 are approved in partial compliance with the requirements of the following condition. As noted above, the condition can only be fully discharged upon completion of the full remediation strategy which includes the final 600mm capping.

41	Prior to the first occupation of each phase of the permitted development, a verification report demonstrating completion of the works set out in the approved remediation strategy and the effectiveness of the remediation shall be submitted to and approved, in writing, by the Local Planning Authority. The report shall include results of sampling and monitoring in accordance with the approved verification plan to demonstrate that the site remediation criteria have been met. It shall also include any plan (a  long-term monitoring and maintenance plan) for longer-term monitoring of pollutant linkages, maintenance and arrangements for contingency action, as identified in the verification plan, and for the reporting of this to the Local Planning Authority.

Reason:

To demonstrate that the remediation criteria has been met in the interests of protecting controlled waters against pollution in accordance with Policies ENV7 - Water Resources; ENV26 - Contaminated Land and Unstable Land; and ENV29 - Protection of Environmental Quality of the Unitary Development Plan.

These condition(s) will, of course, be fully discharged when the development is completed in accordance with the details hereby approved and in conjunction with the approved plans and decision notice.

Yours faithfully

Victoria Robinson

Operational Manager Development Management

# Text boxes

4 July 2017

Mr. I. Robinson

(01446) 704777

P/DC/IR/2009/00946/5/CD

Planning@valeofglamorgan.gov.uk

Date/Dyddiad:

Ask for/Gofynwch am:

Telephone/Rhif ffon:

Your Ref/Eich Cyf:

My Ref/Cyf:

e-mail/e-bost:

## The Vale of Glamorgan Council

# Dock Office, Barry Docks,Barry  CF63 4RT

## Tel: (01446) 700111

TCyngor Bro Morgannwg

Swyddfa’r Doc, Dociau’r Barri, Y Barri CF63 4RT

Ffôn: (01446) 700111

www.valeofglamorgan.gov.uk