Vale of Glamorgan County Council

Dock Office

Holton Road

Barry Docks

Barry

CF63 4RT

|  | Date: 14/04/2016 |
| --- | --- |
|  | Our Ref: PLA0018774 |
|  | Your Ref: 2015/00249/FUL |

# Dear Sir

Grid Ref: ST0923374496 309233 174496

Site:   Land East of St Nicholas St Nicholas

Development: Development of 101 dwellings

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

Site:   Proposed development at St Nicholas, Vale of Glamorgan.

2015/0249/FUL – 101 Units – Land to the East of St Nicholas

2015/00662/FUL – 21 Units – Land to the East of Mink Hollow, St Nicholas

We refer to our previous correspondence dated 8th January 2016 regarding the current planning applications located in the village of St Nicholas and your amended consultation for 2015/0249/FUL. We have currently submitted an objection to the above applications, based on the impact of the proposals upon the receiving Waste water Treatment Works.

We have previously advised that the Works would be able to accommodate the foul discharges from a maximum of 100 no. properties. However, following further investigations carried out on site out by our Operational colleagues we can confirm that the Works can accommodate the foul flows from a maximum of 116 no. properties. The communication of any additional properties would require improvements to be undertaken at the WwTW’s, derived from Studies to be funded by developer(s).

In light of the above, we are aware that the above planning applications are awaiting determination by your Authority. For the avoidance of doubt, we maintain our objection to any development that would exceed the maximum available capacity at St Nicolas Waste water Treatment Works, and therefore look to you to ensure that this public asset is protected via the planning process.

I would be grateful for clarification of your intentions at the earliest opportunity so that we can consider providing appropriate drainage related planning conditions where necessary.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

Clare Powell

Development Control Officer

Developer Services