Vale of Glamorgan County Council

Dock Office

Holton Road

Barry Docks

Barry

CF63 4RT

|  | Date: 16/05/2016 |
| --- | --- |
|  | Our Ref: PLA0019836 |
|  | Your Ref: 2016/00369/OUT |

# Dear Sir

Grid Ref: ST0266767153 302667 167153

Site:   St Athan Boys Village St Athan

Development: Demolition of existing buildings, construction of 15 new dwellings & conversion of chapel into a dwelling

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

As the applicant intends utilising a private treatment works we would advise that the applicant contacts Natural Resources Wales who may have an input in the regulation of this method of drainage disposal.

However, should circumstances change and a connection to the public sewerage system/public sewerage treatment works is preferred we must be re-consulted on this application.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Melanie Chamberlain

# Developer Services