| To / I: | Yvonne Prichard |  | From / Oddi Wrth: | Operational Manager Highways and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: | Planning |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/CRM/L5/1 |
| Date / Dyddiad: | 07/06/2017 |  | Tel / Ffôn: | 029 20673277 |
| Your Ref / Eich Cyf: | P/DC/LC/YVP/2017/01441/FUL |  | Fax / Ffacs: | 029 20673114 |

Subject / Testyn:	Planning Application No. 2017/01441/FUL Cosmeston Lakes Country Park

Proposal: A new wakeboarding sporting facility at Cosmeston Lakes Country Park. New installation of electric cable wakeboarding system equipment and a mechanical store. New installation of male changing facilities and the wake park reception. Conversion of parks store room to house female changing area located at Cosmeston visitor centre.

Part of this site is located in DAM Zone B. NRW maps indicate that there is a varying degree of surface water flood risk across the site due to the presence of the lakes and the watercourses. Adjacent to the proposed location for the new male changing facilities and wake park reception is an ordinary watercourse.

The Application form indicates that surface water will be disposed of via an existing watercourse. Infiltration should be the primary method of surface water disposal prior to any other method being considered. No drainage plan has been submitted with this application. Therefore, prior to work commencing on site a full drainage plan shall be submitted and approved by the LPA.

No details on the management and maintenance of the proposed drainage system have been included with this application. A management plan which includes details on future management responsibilities for the site and its drainage assets should be submitted and approved in writing by the Local Planning Authority. This plan shall detail the strategy that will be followed to facilitate the optimal functionality and performance of the SuDS scheme throughout its lifetime.

No details have been submitted with this application to detail how the adjacent brook will be protected from pollution for the course of this development. Consideration should be given to the risks of pollution from silt, cement, oil and other materials used during the construction of the new dwelling and describe how these risks will be mitigated for the development. Therefore, prior to work commencing, a Construction Environmental Management Plan shall be submitted to and approved by the LPA.

The applicant should be made aware that any works to the watercourse adjacent to the proposed site may require Land Drainage Consent from the Lead Local Flood Authority.

Conditions:

Given the above, no development shall commence on site until a detailed scheme for the surface water drainage of the site, showing how road and roof / yard water will be dealt with has been submitted to and approved in writing by the Local Planning Authority. If infiltration techniques are used, then the plan shall include the details of field percolation tests. Any calculation for onsite attenuation or discharge should also be included. Details on the management of the drainage system shall also be included. The approved scheme must be implemented prior to beneficial occupation and as built drawings should be submitted to the LPA.  This is to ensure that effective drainage facilities are provided for the proposed development and that flood risk is not increased elsewhere.

Development shall not commence until a construction environmental management plan for the protection of the adjacent brook from pollution during the course of construction has been submitted to and approved in writing by the Local Planning Authority. The statement shall assess the risks from all pollution sources and pathways (including silt, cement and concrete, oils and chemicals, herbicides, aggregates, contaminated land and waste materials) and describe how these risks will be mitigated for this development. Development shall be carried out in accordance with the approved details.

Advisory:

Any works to watercourses, including ditches and streams where defined by the Land Drainage Act 1991, may require Land Drainage Consent by the relevant drainage body (Lead Local Flood Authority – Vale of Glamorgan Council). Works include permanent and temporary works, including temporary crossings during construction phases.

F. Tomalin

Engineering Assistant (Flood and Coastal Erosion Risk Management)

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg