| To / I: | Steve Butler |  | From / Oddi Wrth: | Operational Manager Highways and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: |  |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/FT/L5/1 |
| Date / Dyddiad: | 02/11/2017 |  | Tel / Ffôn: | 029 20673277 |
| Your Ref / Eich Cyf: | P/DC/LC/SDB/2017/00746/RES |  | Fax / Ffacs: | 029 20673114 |

Subject / Testyn:	Planning Application No. 2017/00746/RES Land at Cardiff Road/Cross Common Road, Dinas Powys

The engineering layout provided with the Reserved Matters application indicates that surface water shall be disposed of via an attenuation basin and swale system. It demonstrates that surface water flow paths across the development have been considered. The engineering layout shows highway connections to the surface water drainage system; however roof/yard water connections are not indicated at this stage. The engineering layout and the planning layout indicate that an existing ditch at the southern boundary of the site is to be retained.

Further information is required to enable the surface water drainage system for this site to be approved, however this section has no objection to the approval of the Reserved Matters application at this stage.

This section has noted that the following condition on outline application 2015/00392/OUT covers surface water drainage details adequately, and is a pre-commencement condition:

Condition 6: Notwithstanding the submitted details and prior to the commencement of works on site, further details of a scheme for foul and surface water drainage shall be submitted to and approved in writing by the Local Planning Authority, which shall ensure that foul water and surface water discharges shall be drained separately from the site, with no surface water or land drainage run-off allowed to connect (either directly or indirectly) into the public sewerage system.  This should include details of anticipated discharge rates and connections with adjacent watercourses. The approved scheme shall be fully implemented in accordance with the approved details prior to first beneficial occupation of any of the dwellings hereby approved.

To enable this condition to be discharged, further engineering details are required under the outline approval.

Engineering details shall be provided on the attenuation basin and swales that will be used across the site. This shall include cross-sections and long-sections, along with storage volumes and depths. The engineering layout and the planning layout indicate that an existing ditch at the southern boundary of the site is to be retained. It should be demonstrated that is adequate access to this ditch for maintenance purposes.

No information has so far been provided on the standard of service that this surface water drainage system shall provide. Therefore, prior to discharge of condition, hydraulic calculations shall be submitted demonstrating that the surface water drainage system shall not cause any part of the site to flood for the 1 in 30 year design event, and no building shall flood to the 1 in 100 year design event with a 30% allowance for climate change. Hydraulic calculations shall also take into consideration hydraulic locking of the outfall of the drainage system within the Cadoxtan River. A plan indicating exceedance flow routes and depths shall also be submitted in order to discharge this condition.

Prior to discharge of the condition, a Health and Safety Report should also be submitted. This report shall identify the risks to pedestrians and vehicles from the drainage system to be implemented, and identify how these risks shall be mitigated through design and on site.

No SuDS maintenance plan has been submitted with this application. Therefore, prior to discharge of this condition, a plan detailing the measures that shall be put in place to ensure optimum functionality of the drainage system for the lifetime of the development shall be submitted and approved by the LPA.

F. Tomalin (Engineering Assistant – FCERM)

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg