Vale of Glamorgan County Council

Dock Office

Holton Road

Barry Docks

Barry

CF63 4RT

|  | Date: 22/11/2017 |
| --- | --- |
|  | Our Ref: PLA0031154 |
|  | Your Ref: 2017/01203/FUL |

# Dear Sir,

Grid Ref: ST1606069578 316060 169578

Site: Cog Moors Wastewater Treatment Works, Cardiff Road, Dinas Powys

Development: The change of use of land as an extension to the existing wastewater treatment works site and the construction of an Advanced Anaerobic Digestion (AAD) Plant.

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

Notwithstanding the fact Dwr Cymru Welsh Water (DCWW) are the applicants, we can confirm that our Developer Services department have also been informed of the proposed development and consulted, as a ‘Specialist Consultee’, in accordance with Schedule 1C Article 2D of the Town & Country Planning (Development Management Procedure) (Wales) (Amendment) Order 2016. The content of our consultation response (Ref: PPA0002375) has been acknowledged within the accompanying Pre-Application Consultation (PAC) Report, prepared by Caulmert Limited, and our recommendations incorporated within the planning application whereby protection zones for a number of public sewer assets and apparatus have been accommodated alongside the development proposals.

Accordingly, if you are minded to grant planning consent for the above development, we would recommend that the following condition is included within the consent:

Condition

No building shall be occupied until the drainage system for the site has been completed in accordance with the approved details. Thereafter no further surface water shall be allowed to connect directly or indirectly with the public sewerage system.

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

Sion Jones

Development Control Officer

Developer Services