Vale of Glamorgan County Council

Dock Office

Holton Road

Barry Docks

Barry

CF63 4RT

|  | Date: 14/03/2018 |
| --- | --- |
|  | Our Ref: PLA0033044 |
|  | Your Ref: 2018/00107/FUL |

# Dear Sir,

Grid Ref: ST1628671795 316286 171795

Site: 185 Cardiff Road, Dinas Powys

Development: Single storey rear extension

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

Having had an opportunity to review the application submission package, we would advise that the proposed development site is crossed by a combined public sewer with the approximate position being marked on the attached Statutory Public Sewer Record. Dwr Cymru Welsh Water (DCWW) requires access to its apparatus at all times in order to carry out maintenance and repairs. However, in respect of the Proposed Site Plan (Drawing No. 1701/BR05), it appears the proposed development would be situated within the protection zone of the public sewer measured 3 metres either side of the centreline. Accordingly, in the first instance, it is recommended that the developer contact DCWW’s Build-Over-Sewer Department to discuss the matter further and consider possible solutions.

Notwithstanding this, if minded to grant planning consent, we would request that the following Condition and Advisory Notes are included to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:

Condition

No surface water from any increase in the roof area of the building /or impermeable surfaces within its curtilage shall be allowed to drain directly or indirectly to the public sewerage system.

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment

Advisory Notes

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com.

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Sion Jones

# Development Control Officer

# Developer Services