Vale of Glamorgan County Council

Dock Office

Holton Road

Barry Docks

Barry

CF63 4RT

|  | Date: 27/04/2018 |
| --- | --- |
|  | Our Ref: PLA0033801 |
|  | Your Ref: 2018/00359/FUL |

# Dear Sir

Grid Ref: ST1606070864 316060 170864

Site: Meliden, Sunnycroft Lane, Dinas Powis

Development: Replacement dwelling on site of former house burned down

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

The application does not confirm the drainage arrangements for disposal of surface water flows from the proposed development and is not accompanied by any drainage plans. In reference to the ‘Non-statutory standards for sustainable drainage (SuDS) in Wales’, the developer will be required to explore and fully exhaust all technical options in accordance with a hierarchy which states that discharge to a combined sewer shall only be made as a last resort. In this instance, as shown in the attached Statutory Public Sewer Record, the public sewerage system comprises a mix of sewers including surface water sewers to the north of the application site. In the event all alternative drainage options are exhausted, any proposed communication to the public sewerage system shall be made to the surface water sewer only.

In addition, having had an opportunity to review the application submission package, we advise that the proposed development site is crossed by strategic asset in the form of a 1450mm brickwork combined sewer with the approximate position being marked on the attached Statutory Public Sewer Record. Dwr Cymru Welsh Water requires access to its apparatus at all times in order to carry out maintenance and repairs; however, having regard to the Proposed Site Layout (Drawing No. 02A), it appears the development would be situated outside the protection zone of the public sewer.

Accordingly, if you are minded to grant Planning Consent for the above development, we would request that the following Condition and Advisory Notes are included within the consent to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:

Condition

No development shall commence until a drainage scheme for the site has been submitted to and approved in writing by the local planning authority. The scheme shall provide for the disposal of foul, surface and land water, and include an assessment of the potential to dispose of surface and land water by sustainable means. Thereafter the scheme shall be implemented in accordance with the approved details prior to the occupation of the development and no further foul water, surface water and land drainage shall be allowed to connect directly or indirectly with the public sewerage system.

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.

Advisory Notes

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com.

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

Sion Jones

Development Control Officer

Developer Services