Vale of Glamorgan County Council

Dock Office

Holton Road Barry Docks

Barry

CF63 4RT

|  | Date: 18/04/2024 |
| --- | --- |
|  | Our Ref: PLA0079258 |
|  | Your Ref: 2024/00211/OUT |

# Dear Sir/Madam

Grid Ref: ST093689 309388 169073

Site: Barry College Of Further Education, Waycock Road, Barry,

Development: Outline planning application for proposed redevelopment of the CAVC Weycock Cross campus for up to 16 dwellings

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

It appears the application does not require to connect to the public sewer, and therefore Dwr Cymru Welsh Water has no further comments. However, should circumstances change and a connection to the public sewerage system/public sewage treatment works is preferred we must be re-consulted on this application.

WATER SUPPLY

The water supply system in the immediate vicinity has insufficient capacity to serve the development and will also cause detriment to existing customers’ water supply. The applicant is advised that as part of any future water connection application under Section 41 of the Water Industry Act (1991), a hydraulic modelling assessment and the delivery of reinforcement works may be required at the same time as the provision of new water mains to serve the new development under Section 41 and Section 51 of the Water Industry Act (1991).

Information relating to our Hydraulic Modelling Assessment process is available on our website and within our guidance notes. The area planning officer will also be able to provide you within information relating to this process.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Chris Scourfield

# Development Planning Officer

# Developer Services