| To / I: | Angharad Hobbs |  | From / Oddi Wrth: | Operational Manager Environment and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: | Planning |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/MN/L5/1 |
| Date / Dyddiad: | 8/11/2023 |  | Tel / Ffôn: | 02920 673 235 |
| Your Ref / Eich Cyf: | P/DC/LC/ANH/2023/00948/FUL |  | Fax / Ffacs: | 02920 673 114 |

Subject / Testyn:	Planning Application No. 2023/00948/FUL (ANH), Land off Sandy Lane, Ystradowen

Proposal:	Full planning application for residential development together with engineering, drainage, landscaping, highways and other associated works

This site is located within DAM Zone A (TAN15 2004) which is considered to be at low or no risk of fluvial or coastal and tidal flooding. NRW flood maps indicate that this site is at a very low risk of surface water flooding.

This application is subject to SAB approval prior to any commencement of work. As such a detailed design for the surface water drainage will be required to be submitted through the SAB process.

A drainage strategy has been supplied as part of this planning application with the intent to comply with SAB requirements – a SAB pre-application was submitted for this site for which a response has been issued as SAB/PRE/2023/016, however a full application has not yet been submitted.

Advisory:

New developments of more than one dwelling or where the area covered by construction work equals or exceeds 100 square metres as defined by The Flood and Water Management Act 2010 (Schedule 3), will require SuDS Approval Body (SAB) approval prior to the commencement of construction.

Further information of the SAB process can be found at our website or by contacting our SAB team: sab@valeofglamorgan.gov.uk

Yours Sincerely

Matthew Nicole

Assistant Engineer – Environment

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg