| To / I: | Angharad Hobbs |  | From / Oddi Wrth: | Operational Manager Environment and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: | Planning |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/MN/L5/1 |
| Date / Dyddiad: | 08/05/2024 |  | Tel / Ffôn: | 02920 673 075 |
| Your Ref / Eich Cyf: | P/DC/LC/ANH/2023/00948/FUL |  | Fax / Ffacs: | 02920 673 114 |

Subject / Testyn:	Planning Application No. 2023/00948/FUL (ANH), Land off Sandy Lane, Ystradowen

Proposal:	Full planning application for residential development together with engineering, drainage, landscaping, highways and other associated works

This site is located within DAM Zone A which is not considered to be at risk to fluvial and coastal / tidal flooding. NRW flood maps (TAN15 2004) indicate that this site is at a very low risk of surface water flooding.

A drainage strategy has been supplied as part of this planning application with the intent to comply with SAB requirements – a SAB pre-application was submitted for this site for which a response has been issued as SAB/PRE/2023/016, and the submitters have indicated their intent to submit a full application soon.

Advisory:

Any works to watercourses, including ditches and stream where defined by the Land Drainage Act 1991, require Land Drainage Consent by the relevant drainage body (Lead Local Flood Authority – Vale of Glamorgan Council). Works include any change to the ordinary watercourse that may obstruct or alter its flow on a permanent or temporary basis.

New developments of more than one dwelling or where the area covered by construction work equals or exceeds 100 square metres as defined by The Flood and Water Management Act 2010 (Schedule 3), will require SuDS Approval Body (SAB) approval prior to the commencement of construction.

Further information of the SAB process can be found at our website or by contacting our SAB team: sab@valeofglamorgan.gov.uk

Yours Sincerely

Matthew Nicole

Assistant Engineer – Environment

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg