| To / I: | Mr Huw Davies |  | From / Oddi Wrth: | Operational Manager Environment and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: | Planning |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/MN/L5/1 |
| Date / Dyddiad: | 08/04/2024 |  | Tel / Ffôn: | 02920 673 235 |
| Your Ref / Eich Cyf: | P/DC/LC/HUD/2024/00086/FUL |  | Fax / Ffacs: | 02920 673 114 |

Subject / Testyn:	Planning Application No. 2024/00086/FUL (HUD)Coedarhydyglyn Estate, Five Mile Lane, Barry

Proposal:	Proposed Scheme of Landscaping, Including Retention of fill on the Site (Comprising Clean, Naturally occuring Indigenous Material) Associated With The Five Mile Lane Improvements (Ref.2016/00305/RG3)

This site is located within DAM Zone A which is not considered to be at risk to fluvial and coastal / tidal flooding. NRW flood maps (TAN15 2004) indicate that this site is at a very low risk of surface water flooding.

Details on how the area levels are to be altered should be provided, supported by the submission of existing and proposed ground level plans and a contour plan.

Advisory:

New developments of more than one dwelling or where the area covered by construction work equals or exceeds 100 square metres as defined by The Flood and Water Management Act 2010 (Schedule 3), will require SuDS Approval Body (SAB) approval prior to the commencement of construction.

Further information of the SAB process can be found at our website or by contacting our SAB team: sab@valeofglamorgan.gov.uk

Yours Sincerely

Matthew Nicole

Assistant Engineer – Environment

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg