| To / I: | Mr. Robert Lankshear |  | From / Oddi Wrth: | Operational Manager Environment and Engineering |
| --- | --- | --- | --- | --- |
| Dept / Adran: | Planning |  |  |  |
|  |  |  | My Ref / Cyf: | HE/SP/MN/L5/1 |
| Date / Dyddiad: | 10/05/2024 |  | Tel / Ffôn: | 02920 673 075 |
| Your Ref / Eich Cyf: | P/DC/LC/RL/2024/00329/FUL |  | Fax / Ffacs: | 02920 673 114 |

Subject / Testyn:	Planning Application No. 2024/00329/FUL (RL), Land to the south of Blackton Lane and west of Port Road, Rhoose

Proposal:	Development at land to the south of Blackton Lane and west of Port Road for a new Advanced Technology Centre for Cardiff and Vale College including landscaping, related infrastructure and engineering works

This site is located within DAM Zone A which is not considered to be at risk to fluvial and coastal / tidal flooding. NRW flood maps (TAN15 2004) indicate that most of this site is at a very low risk of surface water flooding, however there is a small area at medium risk in the western corner of this site.

This application is subject to SAB approval prior to any commencement of work. As such a detailed design for the surface water drainage will be required to be submitted through the SAB process. A SAB pre-application has been submitted and undergone review as SAB/PRE/2023/024.

Advisory:

New developments of more than one dwelling or where the area covered by construction work equals or exceeds 100 square metres as defined by The Flood and Water Management Act 2010 (Schedule 3), will require SuDS Approval Body (SAB) approval prior to the commencement of construction.

Further information of the SAB process can be found at our website or by contacting our SAB team: sab@valeofglamorgan.gov.uk

Yours Sincerely

Matthew Nicole

Assistant Engineer – Environment

for Operational Manager Highways and Engineering

ar ran Rheolwr Gweithredol Priffyrdd a Pheirianneg