Vale of Glamorgan County Council

Dock Office

Holton Road Barry Docks

Barry

CF63 4RT

|  | Date: 07/05/2024 |
| --- | --- |
|  | Our Ref: PLA0079620 |
|  | Your Ref: 2024/00306/FUL |

# Dear Sir/Madam

Grid Ref: ST109673 311116 167402

Site:   Land to the south of Hood Road, Barry,

Development: Proposed redevelopment of vacant brownfield site at Barry Waterfront for a new educational campus for Cardiff and Vale College including landscaping, related infrastructure and engineering works

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

With regards to foul water we can confirm that the public sewer has adequate capacity to accommodate the proposed development, however we note that the existing public sewer which runs through the plot is proposed to be diverted to facilitate the new dwellings. This response has not undertaken any technical review of the proposed diversion and this will need to be addressed as part of an application made under Section 185 of the Water Industry Act and we recommend the applicant contacts us direct to discuss. At this time, we do however draw your attention to the fact that under the Water Industry Act 1991 we have rights of access to our apparatus at all times. The required protection zone of 3 meters either side of the centre line of the sewer may impact the layout and we recommend that this is given appropriate consideration during the design and determination process.

Turning to surface water, as of 7th January 2019, this proposed development is subject to Schedule 3 of the Flood and Water Management Act 2010. The development therefore requires approval of Sustainable Drainage Systems (SuDS) features, in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It is therefore recommended that the developer engage in consultation with the Local Authority, as the determining SuDS Approval Body (SAB), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.

Notwithstanding this, if minded to grant planning consent, we would request that the following Conditions and Advisory Notes are included to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:

Condition

No development shall take place until details of a scheme to divert the public sewer crossing the site has been submitted to and approved in writing by the local planning authority. The scheme shall include a detailed design, construction method statement and risk assessment outlining the measures taken to secure and protect the structural condition and ongoing access of the public sewer. No development pursuant to this permission shall be carried out until the approved diversion scheme has been implemented and completed. The approved scheme shall be adhered to throughout the lifetime of the development and the protection measures shall be retained in perpetuity.

Reason: To protect the integrity of the public sewer and avoid damage thereto.

Advisory Notes

In accordance with Planning Policy Wales (Edition 11) and Technical Advice Note 12 (Design), the applicant is advised to take a sustainable approach in considering water supply in new development proposals, including utilising approaches that improve water efficiency and reduce water consumption. We would recommend that the applicant liaises with the relevant Local Authority Building Control department to discuss their water efficiency requirements.

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011.  The presence of such assets may affect the proposal.  In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water on 0800 085 3968 to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

WATER SUPPLY

We anticipate this development will require the installation of a new single water connection to serve the new premises. Capacity is available in the water supply system to accommodate the development. The applicant will need to apply to Dwr Cymru Welsh Water for a connection to the potable water supply system under Section 45 of the Water industry Act 1991. The applicant attention is drawn to our new water connection application guidance notes available on our website.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Chris Scourfield

# Development Planning Officer

# Developer Services