Vale of Glamorgan County Council

Dock Office

Holton Road Barry Docks

Barry

CF63 4RT

|  | Date: 12/12/2023 |
| --- | --- |
|  | Our Ref: PLA0077002 |
|  | Your Ref: 2023/01107/FUL |

# Dear Sir/Madam

Grid Ref: ST117668 311782 166867

Site:  20 Plymouth Road, Barry,

Development: Change of use from a hairdressers (Class E) to a dwelling house (Class C3(a) Studio Apartment). The proposal involves utilising the extra space underneath the ground floor. Creating a mezzanine bedroom and splitting the apartment into 3 levels.

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

We have reviewed the details of the submitted application which we have no objections to.  Therefore, if you are minded to grant planning permission we request that the following Advisory Notes are included within any subsequent consent.

Advisory notes

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011.  The presence of such assets may affect the proposal.  In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water on 0800 085 3968 to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Chris Scourfield

# Development Planning Officer

# Developer Services