Cardiff County Council

City Hall

Cardiff

CF10 3ND

|  | Date: 10/05/2022 |
| --- | --- |
|  | Our Ref: PLA0065108 |
|  | Your Ref: 2021/00423/FUL |

# Dear Sir/Madam

Grid Ref: ST065740 306609 174114

Site:   Land at Bolston House Bonvilston

Development: DEMOLITION OF THE EXISTING DWELLING AND RE-DEVELOPMENT OF THE SITE TO ACCOMMODATE RESIDENTIAL DEVELOPMENT AND ASSOCIATED WORKS

We refer to your planning consultation relating to the above site, and we can provide the following comments in respect to the proposed development.

SEWERAGE

Having had an opportunity to review the application submission package, we advise that the proposed development site is crossed by a foul water public sewer with the approximate position being marked on the attached Statutory Public Sewer Record. In accordance with the Water Industry Act 1991, Dwr Cymru Welsh Water requires access to its apparatus at all times in order to carry out maintenance and repairs. However, having regard to the drainage philosophy, it appears the intention is to divert the public sewer to allow for the easement. We request that the applicant contacts us to discuss the possibility of diverting the public sewer under section 185 of the water industry act 1991.

Notwithstanding this, if minded to grant planning consent, we would request that the following Condition and Advisory Notes are included to ensure no detriment to existing residents or the environment and to Dwr Cymru Welsh Water's assets:

Condition

No surface water and/or land drainage shall be allowed to connect directly or indirectly with the public sewerage network.

Reason: To prevent hydraulic overloading of the public sewerage system, to protect the health and safety of existing residents and ensure no pollution of or detriment to the environment.

Advisory Notes

As of 7th January 2019, this proposed development may be subject to Schedule 3 of the Flood and Water Management Act 2010. In the event this proposed development amounts to a total impermeable area of 100sqm or more, approval of Sustainable Drainage Systems (SuDS) features will be required in accordance with the 'Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems'. It would therefore be recommended that the developer engage in consultation with the Vale of Glamorgan Council, as the determining SuDS Approval Body (SAB), in relation to their proposals for SuDS features. Please note, Dwr Cymru Welsh Water is a statutory consultee to the SAB application process and will provide comments to any SuDS proposals by response to SAB consultation.

The applicant may need to apply to Dwr Cymru / Welsh Water for any connection to the public sewer under S106 of the Water industry Act 1991. If the connection to the public sewer network is either via a lateral drain (i.e. a drain which extends beyond the connecting property boundary) or via a new sewer (i.e. serves more than one property), it is now a mandatory requirement to first enter into a Section 104 Adoption Agreement (Water Industry Act 1991). The design of the sewers and lateral drains must also conform to the Welsh Ministers Standards for Gravity Foul Sewers and Lateral Drains, and conform with the publication "Sewers for Adoption"- 7th Edition. Further information can be obtained via the Developer Services pages of www.dwrcymru.com.

The applicant is also advised that some public sewers and lateral drains may not be recorded on our maps of public sewers because they were originally privately owned and were transferred into public ownership by nature of the Water Industry (Schemes for Adoption of Private Sewers) Regulations 2011. The presence of such assets may affect the proposal. In order to assist us in dealing with the proposal the applicant may contact Dwr Cymru Welsh Water to establish the location and status of the apparatus. Under the Water Industry Act 1991 Dwr Cymru Welsh Water has rights of access to its apparatus at all times.

SEWERAGE TREATMENT

No problems are envisaged with the Waste Water Treatment Works for the treatment of domestic discharges from this site.

WATER SUPLY

The proposed development is in an area where there are water supply problems for which there are no improvements planned within our current Capital Investment Programme AMP 7 (years 2020 to 2025).  In order to establish what would be required to serve the site with an adequate water supply, it will be necessary for the developer to fund the undertaking of a hydraulic modelling assessment on the water supply network.  For the developer to obtain a quotation for the hydraulic modelling assessment, we will require a fee of £250 + VAT.

Our response is based on the information provided by your application.  Should the proposal alter during the course of the application process we kindly request that we are re-consulted and reserve the right to make new representation.

If you have any queries please contact the undersigned on 0800 917 2652 or via email at developer.services@dwrcymru.com

Please quote our reference number in all communications and correspondence.

# Yours faithfully,

# Chris Scourfield

# Development Control Officer

# Developer Services